## Full Scaling Tables
Table S1. Structural and functional parameters to guide the scaling of organs-on-chips and human organ constructs based upon human and animal data. The user is urged to validate all numbers from the primary references cited and report any discrepancies to john.wikswo@vanderbilt.edu
Version: 6/10/2013
A live version of the spread sheet can be downloaded from http://www.vanderbilt.edu/viibre/organs-on-a-chip.php . There is a moderated section for comments on and additions to the table.
[9 empty] | Hu mass, kg | 70 |  | mHu mass, kg | 0.07 | Mouse mass, kg | 0.02 |  | uH mass, kg | 7e-05 | nH mass, kg | 7e-08 | <<ENTER MASS
Organ | Type of Quantity | Quantity | Base unit | Allometric coefficient A | Allometric power B | +/- | SE | Allometric Reference Unit | Notes | Human (Hu) | ± | SE | mHu Allometric | mHu Functional | Mouse | ± | SE | uH Allometric | uH Functional | nH Allometric | nH Functional | References
Brain
Brain | Structural | Organ volume | L | 0.029 | 0.922 |  |  |  | Scaled to body mass. Brain Mass and volume scale linearally | 1.45 |  |  | 0.0024979 | 0.00145 |  |  |  | 4.2813e-06 | 1.45e-06 | 7.338e-09 | 1.45e-09 | 1
Brain | Structural | Intracranial Volume | mm^3 | [5 empty] | Total volume of gray matter+White matter+cerebrospinal fluid | 1500000 |  | 0.15 | N/A | 1500 |  |  |  | N/A | 1.5 | N/A | 0.0015 | 2
Brain | Structural | Gray Matter V | cm^3 | [5 empty] | gray matter mass=volume (cm^3) | 571.72 |  |  | N/A | 0.57172 |  |  |  | N/A | 0.00057172 | N/A | 5.7172e-07
Brain | Structural | White Matter V | cm^3 | 1 | 1.23 |  |  |  | Scaled to gray matter volume | 2462.2694 |  |  | N/A | 2.4623 |  |  |  | N/A | 0.0024623 | N/A | 2.4623e-06 | 3
Brain | Structural | White Matter V | cm^2 | 1 | 1.243 | +/- | 0.036 |  | White matter surface area is used to derive White Matter Volume | 2686.0875 |  |  | N/A | 2.6861 |  |  |  | N/A | 0.0026861 | N/A | 2.6861e-06 | 3
Brain | Structural | Interstitial Volume | uL | [5 empty] | Extracellular space is 200ul/g tissue LHH ref 28 | 301782 |  |  | N/A | 301.782 |  |  |  | N/A | 0.30178 | N/A | 0.00030178 | 4
Brain | Structural | Organ Mass (primates) | g | 0.029 | 0.922 |  |  |  | Scaled to body mass | 1508.91 |  | 299.14 | 2.4979 | 1.5089 | 0.416 |  |  | 0.0042813 | 0.0015089 | 7.338e-06 | 1.5089e-06 | 1;5
Brain | Structural | Cerebellum Mass | g | [6 empty] | 154.02 |  | 19.29 | N/A | 0.15402 | 0.056 |  |  | N/A | 0.00015402 | N/A | 1.5402e-07 | 5
Brain | Structural | Rest of Brain Mass | g | [6 empty] | 117.66 |  | 45.42 | N/A | 0.11766 |  |  |  | N/A | 0.00011766 | N/A | 1.1766e-07 | 5
Brain | Structural | Whole Cortical Mass | g | 1.0471e-08 | 1.097 | +/- | 0.081 |  | Scaled to # gray matter neurons. Mass from LHH Ref 2. | 1232.93 |  | 233.68 | N/A | 0.63087 | 0.173 |  |  | N/A | 0.0003228 | N/A | 1.6517e-07 | 3;5
Brain | Structural | Cortical White Matter Mass | g | 4.3453e-10 | 1.197 | +/- | 0.091 |  | Scaled to # gray matter neurons. >40% of cerebral cortex in humans, mass of one hemisphere from LHH Ref 2. | 522.6 |  | 119.7 | N/A | 0.13402 |  |  |  | N/A | 3.4369e-05 | N/A | 8.8139e-09 | 3
Brain | Structural | Cortical White Matter Mass | g | 3.8805e-09 | 1.032 | +/- | 0.04 |  | Scaled to # of cortical non-neuronal cells. Other cells are primarily oligodendrocytes | 522.6 |  | 119.7 | N/A | 0.41896 |  |  |  | N/A | 0.00033587 | N/A | 2.6926e-07 | 3
Brain | Structural | Cortical White Matter Mass | g | 0.35721 | 1.148 |  |  |  | Scaled to gray matter mass | 522.6 |  | 119.7 | 0 | 0.13368 |  |  |  | 6.433e-14 | 1.7144e-14 | 2.0003e-17 | 2.6921e-18 | 3
Brain | Structural | Cortical Gray Matter mass | g | 2.25e-09 | 1.043 | +/- | 0.073 |  | Scaled to whole brain # neuronal cells. Mass from LHH Ref 2. | 571.72 |  | 105.32 | 0 | 0.4248 |  |  |  | 7.916e-12 | 2.5018e-12 | 6.972e-15 | 1.2152e-15 | 3;5
Brain | Structural | Cortical Surface A | cm^2 | 1.431 | 1.059 |  |  |  | Scaled to brain mass (g) | 3325.4016 |  |  | 3.7729 | 2.2123 |  |  |  | 0.004441 | 0.0014718 | 5.2274e-06 | 9.7914e-07 | 6
Brain | Structural | White Matter Surface A | cm^2 | 8.88e-07 | 0.873 | +/- | 0.102 |  | Scaled to # gray matter neurons | 573.7796 |  |  | 0 | 1.3796 |  |  |  | 2.9612e-09 | 0.003317 | 1.1008e-11 | 7.9753e-06 | 3
Brain | Structural | Capillary Linear Dimension | um | [5 empty] | per neuron | 46 |  |  | N/A | 46 |  |  |  | N/A | 46 | N/A | 46 | 7
Brain | Structural | Capillary Length Per Neuron (Calculated) | um/neuron | [5 empty] | Calculated from total capillary length divided by number of neurons | 7.5529 |  |  | N/A | 7.5529 |  |  |  | N/A | 7.5529 | N/A | 7.5529
Brain | Structural | Capillary Luminal Diameter | um | [6 empty] | 3 |  |  | N/A | 3 |  |  |  | N/A | 3 | N/A | 3 | 8
Brain | Structural | Total Capillary Length | km | [5 empty] | Calculated by length/neuron*# neurons | 650 |  |  | N/A | 0.65 |  |  |  | N/A | 0.00065 | N/A | 6.5e-07 | 8
Brain | Structural | Capillary Volume (resident blood vol) | mL | [5 empty] | From LHH source 13 | 1 |  |  | N/A | 0.001 |  |  |  | N/A | 1e-06 | N/A | 1e-09 | 8
Brain | Structural | Capillary Volume (calculated) | mL | [5 empty] | Calculated from diameter and length | 4.5923 |  |  | N/A | 0.0045923 |  |  |  | N/A | 4.5923e-06 | N/A | 4.5923e-09 | 9
Brain | Structural | Total Capillary Volume | uL | [5 empty] | 131 um^3/neuron X Whole Brain # Neuronal Cells | 11273.86 |  | 1063.72 | 0 | 11.2739 |  |  |  | 0 | 0.011274 | 0.0013359 | 1.1274e-05 | 2
Brain | Structural | Cerebrospinal fluid volume | mL | [6 empty] | 160 |  |  | N/A | 0.16 |  |  |  |  | 0.00016 |  | 1.6e-07 | 10
Brain | Structural | Capillary Surface Area | cm^2/g | [6 empty] | 175 |  | 25 | N/A | 175 |  |  |  | N/A | 175 | N/A | 175 | 4;8;11
Brain | Structural | Capillary Surface Area | m^2 | [5 empty] | Average of total capillary surface area range from multiple sources 12-18 m^2 | 15 |  | 3 | N/A | 0.015 |  |  |  | N/A | 1.5e-05 | N/A | 1.5e-08 | 4;8;11
Brain | Structural | Total Capillary Surface Area | um^2 | [5 empty] | 174 um^2 per neuron X Whole Brain # Neuronal Cells | 14974440000000 |  |  | 0 | 14974440000 |  |  |  | 0 | 14974440 | 1774373.8271 | 14974.44
Brain | Structural | Axonal Cross Sectional Area | um^2 | 0.36915 | 0.032 | +/- | 0.049 |  | Essentially invariant for primate brains. Scaled to cortical gray matter # neurons | 0.785 |  |  | 0 | 0.758 |  |  |  | 0.29951 | 0.758 | 0.24398 | 0.758 | 3;12
Brain | Structural | Axonal Length | mm |  | 0.662 | +/- | 0.186 |  | Scaled to cortical radius | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 3
Brain | Structural | Axonal Length | mm |  | 0.242 | +/- | 0.085 |  | Scaled to cortical gray matter # neurons | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 3
Brain | Structural | mitochondrial surface area |  |  | 0.86 |  |  |  | Follows metabolic rate and scales to brain mass
Brain | Structural | Total cell number | cells | [6 empty] | 170000000000 |  | 13860000000 | 0 | 170000000 |  |  |  | 0 | 170000 | 10581.8507 | 170 | 1
Brain | Structural | Whole Brain # Neuronal Cells | cells | 5490000 | 0.801 |  |  |  | Scaled to body mass | 86060000000 |  | 8120000000 | 0 | 86060000 |  |  |  | 0 | 86060 | 10197.5507 | 86.06 | 1;5
Brain | Structural | Whole Brain # Non-Neuronal Cells | cells | 5490000 | 1 |  |  |  | Scaled to body mass | 84610000000 |  | 9830000000 | 0 | 84610000 |  |  |  | 0 | 84610 | 384.3 | 84.61 | 1;5
Brain | Structural | Whole Brain: #Non-Neuronal/#Neuronal | [7 empty] | 0.98315 |  |  | N/A | 0.98315 |  |  |  | N/A | 0.98315 | N/A | 0.98315
Brain | Structural | Cerebellum # cells | cells | [6 empty] | 85050000000 |  | 6920000000 | N/A | 85050000 |  |  |  | N/A | 85050 | N/A | 85.05 | 5
Brain | Structural | Cerebellum # Neurons | cells | [6 empty] | 69030000000 |  | 6650000000 | N/A | 69030000 | 42000000 |  |  | N/A | 69030 | N/A | 69.03 | 5
Brain | Structural | Cerebellum # Non-Neuronal | cells | [6 empty] | 16040000000 |  | 2170000000 | N/A | 16040000 |  |  |  | N/A | 16040 | N/A | 16.04 | 5
Brain | Structural | Cerebellum: #Non-Neuronal/#Neuronal | [7 empty] | 0.23236 |  |  | N/A | 0.23236 |  |  |  | N/A | 0.23236 | N/A | 0.23236
Brain | Structural | Cerebral Cortex # cells | cells | [6 empty] | 77180000000 |  | 7720000000 | N/A | 77180000 |  |  |  | N/A | 77180 | N/A | 77.18 | 5
Brain | Structural | Cerebral Cortex # Neurons | cells | [6 empty] | 16340000000 |  | 2170000000 | N/A | 16340000 | 13000000 |  |  | N/A | 16340 | N/A | 16.34 | 5
Brain | Structural | Cerebral Cortex #Non-Neuronal | cells | [6 empty] | 60840000000 |  | 7020000000 | N/A | 60840000 |  |  |  | N/A | 60840 | N/A | 60.84 | 5
Brain | Structural | Cerebral Cortex: #Non-Neuronal/#Neuronal | [7 empty] | 3.7234 |  |  | N/A | 3.7234 |  |  |  | N/A | 3.7234 | N/A | 3.7234
Brain | Structural | Cortical Grey matter # Neurons | cells | 18887460.5418 | 0.911 |  |  |  | Scaled to cortical mass | 12360000000 |  | 3440000000 | 0 | 12360000 |  |  |  | 0.0014545 | 12360 | 2.3959e-06 | 12.36 | 5
Brain | Structural | Cortical Grey matter # Non-Neuronal | cells | [6 empty] | 17360000000 |  | 1560000000 | N/A | 17360000 |  |  |  | N/A | 17360 | N/A | 17.36 | 5
Brain | Structural | Cortical Gray Matter: #Non-Neuronal/#Neuronal | [7 empty] | 1.4045 |  |  | N/A | 1.4045 |  |  |  | N/A | 1.4045 | N/A | 1.4045
Brain | Structural | Cortical White Matter # Neurons | cells | [6 empty] | 2580000000 |  | 1080000000 | N/A | 2580000 |  |  |  | N/A | 2580 | N/A | 2.58 | 5
Brain | Structural | Cortical White Matter # Non-Neuronal | cells | 0.069542 | 1.165 | +/- | 0.07 |  | Scaled to cortical gray matter # neurons | 39760000000 |  | 5660000000 | 0 | 39760000 |  |  |  | 3.442e-05 | 39760 | 1.9694e-08 | 39.76 | 5
|  | Cortical White Matter: #Non-Neuronal/#Neuronal | [7 empty] | 15.4109 |  |  | N/A | 15.4109 |  |  |  | N/A | 15.4109 | N/A | 15.4109
Brain | Structural | Rest of Brain # Cells | cells | [6 empty] | 8420000000 |  | 1500000000 | N/A | 8420000 |  |  |  | N/A | 8420 | N/A | 8.42 | 5
Brain | Structural | Rest of Brain # Neurons | cells | [5 empty] | <1% total cells | 690000000 |  | 120000000 | N/A | 690000 |  |  |  | N/A | 690 | N/A | 0.69 | 5
Brain | Structural | Rest of Brain # Non-Neuronal | cells | [5 empty] | RoB = Basal ganglia, diencephalon, brainstem | 7730000000 |  | 1450000000 | N/A | 7730000 |  |  |  | N/A | 7730 | N/A | 7.73 | 5
Brain | Structural | Rest of Brain: #Non-Neuronal/#Neuronal | [7 empty] | 11.2029 |  |  | N/A | 11.2029 |  |  |  | N/A | 11.2029 | N/A | 11.2029
Brain | Structural | Neocortical # Cells | cells | [6 empty] | 38670000000 |  |  | N/A | 38670000 |  |  |  | N/A | 38670 | N/A | 38.67 | 13
Brain | Structural | Neocortical # Neurons | cells | [6 empty] | 16670000000 |  |  | N/A | 16670000 |  |  |  | N/A | 16670 | N/A | 16.67 | 13
Brain | Structural | Neocortical # Glia | cells | [6 empty] | 19240000000 |  |  | N/A | 19240000 |  |  |  | N/A | 19240 | N/A | 19.24 | 13
Brain | Structural | Neocortical: # Glia/# Neurons | [7 empty] | 1.1542 |  |  | N/A | 1.1542 |  |  |  | N/A | 1.1542 | N/A | 1.1542
Brain | Structural | Neocortical # Vascular Cells | cells | [6 empty] | 7730000000 |  |  | N/A | 7730000 |  |  |  | N/A | 7730 | N/A | 7.73 | 13
Brain | Structural | Neocortical # Microglia | cells | [6 empty] | 3480000000 |  |  | N/A | 3480000 |  |  |  | N/A | 3480 | N/A | 3.48 | 13
Brain | Functional | Cell Turnover | % | [5 empty] | Scales with Age | 10 | [11 empty] | 9
Brain | Functional | Cerebral Blood Flow | L/min | [5 empty] | 13% of total body blood flow | 0.7 |  |  | N/A | 0.0007 |  |  |  | N/A | 7e-07 | N/A | 7e-10 | 14
Brain | Functional | Cerebral Blood Flow | mL/100g.min | [5 empty] | Agrees with cerebral blood flow in L/min when calculated with brain mass | 52.7 |  |  | N/A | 52.7 |  |  |  | N/A | 52.7 | N/A | 52.7 | 15
Brain | Functional | CBF changes with aging | [6 empty] | linear regression with age, slope = | -0.118 |  | 0.043 | N/A | N/A |  |  |  | N/A | N/A | N/A | N/A | 16
Brain | Functional | Capillary Shear Stress | Pa | 57.13 | -1.5779 |  |  |  | Max around 10 (microvessels) min around 0.28 (venules). Scaled to capillary diameter | 1.54 |  |  |  | 1.54 |  |  |  | N/A | 1.54 | N/A | 1.54 | 17;18
Brain | Functional | Mean Arterial Blood Pressure | mmHg | [6 empty] | 82 |  |  | N/A | 82 |  |  |  | N/A | 82 | N/A | 82 | 15
Brain | Functional | Cerebral Vascular Resistance | mmHg/100g | [6 empty] | 1.56 |  |  | N/A | 1.56 |  |  |  | N/A | 1.56 | N/A | 1.56 | 15
Brain | Functional | Arteriovenous Oxygen Difference | volume % | [6 empty] | 6.1 |  |  | N/A | 6.1 |  |  |  | N/A | 6.1 | N/A | 6.1 | 15
Brain | Functional | Oxygen extraction fraction changes with aging | [6 empty] | Linear regression with age, slope = | 0.001 |  |  | N/A | N/A |  |  |  | N/A | N/A | N/A | N/A
Brain | Functional | Arterial CO2 content | volume % | [6 empty] | 47.52 |  |  | N/A | 47.52 |  |  |  | N/A | 47.52 | N/A | 47.52 | 15
Brain | Functional | CO2 Partial Pressure | mmHg | [6 empty] | 37.1 |  |  | N/A | 37.1 |  |  |  | N/A | 37.1 | N/A | 37.1 | 19
Brain | Functional | Conduction Velocity | s^-1 |  | 0.242 | +/- | 0.085 |  | Decreased connectivity as the cortex grows. This decreases the average conduction delay along global connections. Scaled to cortical gray matter # neurons | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 3
Brain | Functional | Conduction Velocity Primates |  |  | 0.165 |  |  |  | Scaled to cortical gray matter # neurons | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 3
Brain | Functional | Conduction Velocity Rodents |  |  | 0.466 |  |  |  | Scaled to cortical gray matter # neurons | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 20
Brain | Functional | Computational Capacity Primates |  |  | 0.623 |  |  |  | Scaled to cortical gray matter # neurons | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 20
Brain | Functional | Computational capacity Rodents |  |  | 0.446 |  |  |  | Scaled to cortical gray matter # neurons | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 20
Brain | Structural | Non-Neuronal (Glial) cell density per Neuron |  |  | 1 |  |  |  | Scaled to whole brain # neuronal cells. | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 21
Brain | Structural | Neuronal Cell Density (Primates) | Neurons/mg |  | -0.123 |  |  |  | Average of two papers +/- Stdev. Scaled to brain mass | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 21
Brain | Structural | Neuronal Cell Density (Rodents) |  |  | -0.367 |  |  |  | Scaled to brain mass | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 21
Brain | Structural | neuronal density with brain mass (all) |  |  | -0.172 |  |  |  | Scaled to brain mass | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 21
Brain | Functional | metabolic demand/value range | Metabolic Rate/g |  | -0.14 |  |  |  | Scaled to brain mass | NV |  |  | N/A | NV |  |  |  | N/A | NV | N/A | NV | 21
Brain | Functional | Whole Brain Glucose Consumption | umol/min | 0.78533 | 0.873 |  |  |  | Across 6 species. Scaled to brain mass | 467.762 |  |  | 1.7464 | 0.20545 | 0.37 |  |  | 0.0067208 | 205.4463 | 2.5864e-05 | 205446.3156 | 21
Brain | Functional | Glucose consumption per mass | umol/g.min | 0.78533 | -0.127 |  |  |  | Across 6 species. Scaled to brain mass | 0.31 |  |  | 0.69913 | 0.31 | 0.89 |  |  | 1.5698 | 0.31 | 3.5247 | 0.31 | 21
| Functional | Glucose per neuron | umol/min |  | 1 |  |  |  | Calculated from whole brain glucose consumption divided by number of neurons | 5.4353e-09 |  |  |  | 5.4353e-09 |  |  |  |  | 5.4353e-09 |  | 5.4353e-09
Brain | Functional | Whole Brain Oxygen Consumption | mL/min | 0.092282 | 0.862 |  |  |  | Across 6 species, human number average of 2 sources +/- Stdev. Scaled to brain mass. | 50.7135 |  | 2.1 | 0.20316 | 0.052812 | 0.19 |  |  | 0.00083856 | 5.2812e-05 | 2.5864e-05 | 8.8537e-07 | 10;21
Brain | Functional | Whole Brain Oxygen Consumption | mL/g.min | [5 empty] | For humans, calculated from whole brain oxygen consumption divided by organ mass | 0.035 |  | 0.005 | 0.08133 | 0.035 | 0.084 (rat) |  |  | 0.19587 | 0.035 | 3.5247 | 0.035 | 10
Brain | Functional | Cerebral Cortex Glucose Consumption | umol/g.min | [6 empty] | 0.34 |  | 0.05 | N/A | 0.34 | 1.1 |  |  | N/A | 0.34 | N/A | 0.34 | 10
Brain | Functional | Cerebral Metabolic Rate (oxygen/mass) | mL/100g.min | [6 empty] | 3.21 |  |  | N/A | 3.21 |  |  |  | N/A | 3.21 | N/A | 3.21 | 15
Brain | Functional | CMRO2 changes with aging | [6 empty] | Linear regression with age, slope = | -0.24 |  | 0.05 | [9 empty] | 16
Brain | Functional | Firing Rate |  |  | -0.15 |  |  |  | Also differs for type of neuron. Scaled to body mass | 1-40 Hz |  |  |  | 1-40 Hz |  |  |  |  | 1-40 Hz |  | 1-40 Hz | 10
Heart | [21 empty] | Heart
Heart | Structural | Organ Weight | g | 5.05 | 0.98 |  |  |  | w/o blood | 255 | ± | 24 | 0.37293 | 0.255 | 0.15 | ± | 0.05 | 0.00042818 | 0.000255 | 4.9161e-07 | 2.55e-07 | 22;23
Heart | Structural | Organ Volume | L | 0.0042143 | 1 |  |  |  |  | 0.295 | ± | 0.015 | 0.000295 | 0.000295 | 9.5e-05 |  |  | 2.95e-07 | 2.95e-07 | 2.95e-10 | 2.95e-13 | 14
Heart | Structural | Organ Mean Linear Dimension | cm | 3.2468 | 0.33 |  |  |  |  | 13.5 |  | 1.5 | 1.35 | 1.35 | 1 cm |  |  | 0.13814 | 0.135 | 0.014136 | 0.0135 | 23;24
Heart | Structural | LV Weight | g | 3.5064 | 0.98 |  |  |  |  | 177.8 | ± | 44 | 0.25886 | 0.1778 | 0.091 | ± | 0.02 | 0.00029721 | 0.0001778 | 3.4124e-07 | 1.778e-07 | 25
Heart | Structural | LV Wall Thickness | mm | 1.8038 | 0.33 |  |  |  |  | 7.5 |  | 2.5 | 0.75 | 0.75 | 1.5 |  |  | 0.076747 | 0.075 | 0.0078535 | 0.0075 | 26;27
Heart | Structural | LV Wall Thickness | cells | 36.0752 | 0.33 |  |  |  |  | 150 |  | 30 | 15 | 15 | 150 (rat) |  |  | 1.5349 | 1-2 | 0.15707 | 1 | 28;29
Heart | Structural | LV Surface Area | cm2 | 13.2164 | 0.67 |  |  |  | Ranges from 180-260 cm2 | 222.5 | ± | 37.5 | 2.225 | 2.225 | 1 |  |  | 0.021744 | 0.021744 | 0.00021249 | 0.00021744 | 30;31
Heart | Structural | LV Radii | mm | 7.7321 | 0.33 |  |  |  |  | 32.15 | ± | 0.225 | 3.215 | 3.215 | 5.15 (rat) |  |  | 0.32899 | 0.3215 | 0.033665 | 0.03215 | 32
Heart | Structural | LV Radius of Curvature | mm | 84548.105 | 3 |  |  |  |  | 2.9 |  |  | 29 | 29 | 19.4 (rat) |  |  | 2.9e-08 | 290 | 2.9e-17 | 2900 | 33
Heart | Structural | Resident Vascular Blood Volume | L | 0.0003825 | 1 |  |  |  | ~10.5 mL/100g of tissue | 0.026775 |  |  | 2.6775e-05 | 2.6775e-05 | 2.835e-05 |  |  | 2.6775e-08 | 2.6775e-08 | 2.6775e-11 | 2.6775e-11 | 34;35
Heart | Structural | End Diastolic Vlood Volume | mL | 1.7143 | 1 |  |  |  |  | 120 |  |  | 0.12 | 0.12 | 0.06 |  |  | 0.00012 | 0.00012 | 1.2e-07 | 1.2e-07 | 36;37
Heart | Functional | Perfusion Rate | L/ min | 0.0099172 | 0.75 |  |  |  |  | 0.24 |  |  | 0.0013496 | 0.00024 | 0.00028 |  |  | 7.5895e-06 | 2.4e-07 | 4.2679e-08 | 2.4e-10 | 14
Heart | Structural | Total Cell Number | cells | N/A | N/A |  |  |  | Using 20,000,000 cells/cm3 | 5900000000 |  |  |  | 5900000 | 2810000 |  |  | N/A | 5900 | N/A | 5.6 | 38
Heart | Structural | Mass Per Cell | g | N/A | N/A |  |  |  |  | 4.322e-08 |  |  |  | 4.322e-08 | 5.3381e-08 |  |  | N/A | 4.322e-08 | N/A | 4.322e-08
Heart | Structural | Cell Density | cells/cm3 | N/A | N/A |  |  |  |  | 20000000 |  |  |  | 20000000 | 58000000 |  |  | N/A | 20000000 | N/A | monolayer | 29;39
Heart | Structural | Number of Important Cell Types | cell types | N/A | N/A |  |  |  | Cardiomyocytes, Fibroblasts, VSMCs, ECs, neurons | 5 |  |  |  | 5 | 5 |  |  | N/A | 1-2 | N/A | 1
Heart | Functional | Cell Turnover Rate | new cells (yr-1) | N/A | N/A |  |  |  | 1% turnover at 25, 0.45% turnover at 75 years (calculated assuming 1% turnover) | 59000000 |  |  | N/A | 59000 | 14.05 |  |  | N/A | 59 | N/A | 0.056 | 40;41
Heart | Functional | Fractional Cell Shortening | um/cell | N/A | N/A |  |  |  |  | 10.5 |  |  |  | 10.5 | 4.14 |  |  | N/A | 10.5 | N/A | 10.5 | 27;42;43
Heart | Metabolic | MVO2 | ml O2/100g/min | 0.41322 | 0.75 |  |  |  |  | 10 | ± | 3 | 0.056234 | 10 | 0.83 | ± | 0.12 | 0.00031623 | 10 | 1.7783e-06 | 10 | 44;45
Heart | Functional | Total Transport Capacity | mL/min | 216.94 | 0.75 |  |  |  |  | 5250 | ± | 975 | 29.5232 | 5.25 | 20 | ± | 5 | 0.16602 | 0.00525 | 0.0009336 | 5.25e-06 | 46;47
Heart | Functional | Ejection Fraction | % | [6 empty] | 0.625 | ± | 0.075 |  | 62.5 | 66 | ± | 4 | N/A | 0.625 | N/A | 0.625 | 37;48
Heart | Functional | Oscillatory Frequency | bpm | 202 | -0.25 |  |  |  |  | 65 |  |  | 392.7144 | 65 | 632 | ± | 56.8 | 2208.3955 | 65 | 12418.7207 | 65 | 49
Heart | Functional | Wall Shear Stress | dynes/cm2 | 16.5739 | -0.2027 |  |  |  | Experimental: -0.2027; Theoretical: -0.375 | 7 |  |  | 28.4134 | 7 | 35 |  |  | 115.2452 | 7 | 467.4369 | 7 | 50
Heart | Metabolic | Max O2 Consumption nmol/mm^3/s | nmol/mm^3/s | N/A | N/A |  |  |  | Human value is average at rest (250 mL O2 min-1) | 0.5545 |  |  |  |  | 0.7 | [6 empty] | 22
Heart | Structural | Capillary Density | capillaries/mm^2 | N/A | N/A |  |  |  | in children and adults, higher density in infants | 2388 | ± | 75 |  |  | 2248 | ± | 85 |  |  |  |  | 22
Heart | Structural | Myocyte Fractional area | % | N/A | N/A |  |  |  |  | 12 | ± | 5.9 |  |  | 82.1 | ± | 0.9 |  |  |  |  | 22
Heart | Metabolic | Max MVO2 Calculation | mL O2/100g/min | N/A | N/A |  |  |  | in men | 55.9 |  |  |  |  | 67.7491 | [6 empty] | 22
Heart | Structural | % Mitochondria (v/v) |  | N/A | N/A |  |  |  | % of CM cytosolic volume | 0.2533 |  |  |  |  | 0.38 | [6 empty] | 45
Kidney | [21 empty] | Kidney
Kidney | Structural | Kidney Mass | g | [5 empty] | Mass from literature | 310 |  |  |  |  | 0.32 | [6 empty] | 14
Kidney | Structural | Kidney Mass | g | 0.0212 | 0.85 |  |  |  | Mass from allometric scaling | 278.4 |  |  | 0.78464 |  | 0.27053 |  |  | 0.0022114 |  | 6.2326e-06 |  | 51-54
Kidney | Structural | Kidney Volume | mL | [5 empty] | Volume from literature | 280 |  |  |  |  | 0.34 | [6 empty] | 14
Kidney | Structural | Kidney Volume | mL | 0.0218 | 0.843 |  |  |  | Volume from allometric scaling | 264.7733 |  |  | 0.7832 |  | 0.27241 |  |  | 0.0023167 |  | 6.8529e-06 |  | 55
Kidney | Structural | Cortical Thickness | mm | 2.62 | 0.17 |  |  |  |  | 5.3947 |  |  | 1.6671 |  | 1.3473 |  |  | 0.51519 |  | 0.15921 |  | 56
Kidney | Structural | Medullary Thickness | mm | 8.147 | 0.129 |  |  |  |  | 14.0934 |  |  | 5.7812 |  | 4.9185 |  |  | 2.3715 |  | 0.97278 |  | 57
Kidney | Structural | Outer Medullary Thickness | mm | 3.17 | 0.18 |  |  |  |  | 6.8105 |  |  | 1.9642 |  | 1.5676 |  |  | 0.56647 |  | 0.16337 |  | 56
Kidney | Structural | Inner Medullary Thickness | mm | 5.09 | 0.14 |  |  |  |  | 9.2264 |  |  | 3.5078 |  | 2.9435 |  |  | 1.3336 |  | 0.50703 |  | 56
Kidney | Structural | Loop Length | um | 1852 | 1.016 |  |  |  |  | 0 |  |  | 0 |  | 0 |  |  | 0 |  | 0 |  | 57
Kidney | Structural | Renal Blood Flow (RBF) | mL/min | [5 empty] | Renal Blood Flow from literature | 1240 |  |  |  |  | 1.3 | [6 empty] | 14
Kidney | Structural | Renal Blood Flow (RBF) | mL/min | 43.06 | 0.77 |  |  |  | Renal Blood Flow from allometric scaling | 1134.487 |  |  | 5.5565 |  | 2.1177 |  |  | 0.027214 |  | 0.00013329 |  | 58
Kidney | Structural | Plasma Flow Rate (PFR) | mL/min | [5 empty] | Plasma Flow Rate from literature | 700 |  |  |  |  | 0.8 | [6 empty] | 55
Kidney | Structural | Plasma Flow Rate (PFR) | mL/min | 0.0845 | 0.802 |  |  |  | Plasma Flow Rate from allometric scaling | 649.5691 |  |  | 2.5505 |  | 0.93386 |  |  | 0.010014 |  | 3.9321e-05 |  | 55
Kidney | Structural | # Nephrons, Both Kidneys |  | 188000 | 0.62 |  |  |  |  | 2618898.302 |  |  | 36150.8601 |  | 16626.3319 |  |  | 499.0208 |  | 6.8884 |  | 52;53;55
Kidney | Structural | # Glomeruli, Both Kidneys |  | 190600 | 0.62 |  |  |  |  | 2655117.1083 |  |  | 36650.8188 |  | 16856.2706 |  |  | 505.9221 |  | 6.9837 |  | 59
Kidney | Structural | # Nephrons/g of Kidney |  | 32400 | -0.32 |  |  |  |  | 8319.8144 |  |  | 75877.609 |  | 113296.2177 |  |  | 692012.0189 |  | 6311224.6225 |  | 59
Kidney | Structural | Glomerular Surface/g of Kidney | mm^2 | 2809 | -0.15 |  |  |  |  | 1485.2072 |  |  | 4185.8825 |  | 5051.2311 |  |  | 11797.4198 |  | 33249.6466 |  | 59
Kidney | Structural | Total Glomerular Volume | mL | 0.137 | 0.85 |  |  |  |  | 5.0705 |  |  | 0.014291 |  | 0.0049272 |  |  | 4.0277e-05 |  | 1.1352e-07 |  | 53;59
Kidney | Structural | Total Glomerular SA | mm^2 | 8371 | 0.73 |  |  |  |  | 186079.6631 |  |  | 1201.4312 |  | 481.4257 |  |  | 7.7571 |  | 0.050084 |  | 59
Kidney | Structural | SA/Glomerulus | mm^2 | 0.086 | 0.18 |  |  |  |  | 0.18476 |  |  | 0.053286 |  | 0.042529 |  |  | 0.015368 |  | 0.0044322 |  | 59
Kidney | Structural | Proximal Tubule Length | mm | 14.33 | 0.1 |  |  |  |  | 21.9157 |  |  | 10.9839 |  | 9.6906 |  |  | 5.505 |  | 2.759 |  | 59
Kidney | Structural | Proximal Tubule Diameter | mm | 0.06 | 0.02 |  |  |  |  | 0.065321 |  |  | 0.056892 |  | 0.055485 |  |  | 0.049551 |  | 0.043157 |  | 59
Kidney | Structural | Proximal Tubule Volume | mm^3 | 0.046 | 0.12 |  |  |  |  | 0.07659 |  |  | 0.033433 |  | 0.028766 |  |  | 0.014594 |  | 0.0063704 |  | 59
Kidney | Structural | Total of Proximal Tubule Volumes | mm^3 | 4284 | 0.68 |  |  |  |  | 77004.5043 |  |  | 702.2894 |  | 299.6056 |  |  | 6.405 |  | 0.058414 |  | 59
Kidney | Structural | Proximal Tubule Volume/g of Kidney | mm^3 | 1472 | -0.2 |  |  |  |  | 629.3442 |  |  | 2505.4642 |  | 3218.8579 |  |  | 9974.4326 |  | 39708.9316 |  | 59
Kidney | Structural | Mean Glomerular Diameter | um | 61 | 0.11 |  |  |  |  | 208.1089 |  |  | 97.3398 |  | 84.8092 |  |  | 0 |  | 21.2956 |  | 54
Kidney | Functional | Glomerular Filtration Rate (GFR) | mL/min | [6 empty] | 125 |  |  |  | 0.125 | 0.28 |  |  |  | 0.000125 |  |  | 14
Kidney | Functional | Glomerular Filtration Rate (GFR) | mL/min | 5.36 | 0.72 |  |  |  |  | 114.1919 |  |  | 0.79002 |  | 0.32056 |  |  | 0.0054656 |  | 3.7812e-05 |  | 60
Kidney | Functional | Single Nephron GFR | nL/min | 28 | 0.1 |  |  |  |  | 42.8221 |  |  | 21.4619 |  | 18.9348 |  |  | 10.7564 |  | 5.391 |  | 53
Kidney | Functional | Urine Flow | mL/day | [5 empty] | Urine Flow from literature | 1400 |  |  |  |  | 1 | [6 empty] | 14
Kidney | Functional | Urine Flow | mL/day | 60.85 | 0.75 |  |  |  | Urine Flow from allometric scaling | 1472.5977 |  |  | 8.281 |  | 3.2362 |  |  | 0.046568 |  | 0.00026187 |  | 58
Kidney | Functional | Urinary Concentrating Ability (*#4) | mmol/kgH2O | 2667 | -0.097 |  |  |  |  | 1766.2351 |  |  | 3451.8229 |  | 3897.8319 |  |  | 6746.0337 |  | 13184.0398 |  | 56;57
Kidney | Functional | Clearance |  |  | 0.75 | [16 empty] | 53
Kidney | Functional | Clearance, Urea | mL/hr | 1.59 | 0.72 |  |  |  |  | 33.8741 |  |  | 0.23435 |  | 0.095091 |  |  | 0.0016213 |  | 1.1217e-05 |  | 52;55
Kidney | Functional | Clearance, Inulin | mL/min | 5.36 | 0.72 |  |  |  |  | 114.1919 |  |  | 0.79002 | 0.11419 | 0.32056 |  |  | 0.0054656 | 0.00011419 | 3.7812e-05 |  | 53;58
Kidney | Functional | Clearance, Creatinine | mL/min | 8.2 | 0.69 |  |  |  |  | 153.7912 |  |  | 1.309 |  | 0.55147 |  |  | 0.011141 |  | 9.4827e-05 |  | 52;55;61
Kidney | Functional | Clearance, Methotrexate (MTX) | mL/min | 10.9 | 0.69 |  |  |  |  | 204.4298 |  |  | 1.74 |  | 0.73306 |  |  | 0.01481 |  | 0.00012605 |  | 61
Kidney | Functional | Clearance, Para-aminohippurate (PAH) | mL/min | 21.79 | 0.77 |  |  |  |  | 574.0936 |  |  | 2.8118 |  | 1.0716 |  |  | 0.013772 |  | 6.745e-05 |  | 58
Kidney | Functional | Excretion, Urinary Nitrogen | mg/day | 146 | 0.72 |  |  |  |  | 3110.4516 |  |  | 21.5191 |  | 8.7316 |  |  | 0.14888 |  | 0.00103 |  | 60
Kidney | Functional | Excretion, Creatinine Nitrogen | mg/day | 12.7 | 0.896 |  |  |  |  | 571.4939 |  |  | 1.1722 |  | 0.38153 |  |  | 0.0024044 |  | 4.9319e-06 |  | 60
Kidney | Functional | Excretion, Neutral Sulfur | mg/day | 6.85 | 0.74 |  |  |  |  | 158.8778 |  |  | 0.95733 |  | 0.37884 |  |  | 0.0057685 |  | 3.4759e-05 |  | 60
Kidney | Metabolic | Species Basal Metabolic Rate | W | 3.89 | 0.76 |  |  |  |  | 98.2255 |  |  | 0.51549 |  | 0.19894 |  |  | 0.0027054 |  | 1.4198e-05 |  | 57
Kidney | Metabolic | Species Mass Specific Metablic Rate | W/kg | 3.89 | -0.24 |  |  |  |  | 1.4032 |  |  | 7.3642 |  | 9.9472 |  |  | 38.6479 |  | 202.8271 |  | 57
Kidney | Metabolic | Kidney Mass Specific Metabolic Rate | kJ kg-1 day-1 | 2887 | -0.08 |  |  |  |  | 2055.1283 |  |  | 3571.4037 |  | 3947.884 |  |  | 6206.3883 |  | 10785.4667 |  | 51;62
Kidney | Metabolic | Mass Specific Oxygen Consumption |  |  | -0.1 | [16 empty] | 63
Kidney | Metabolic | Mitochondrial Volume Density (% of cell vol) | % | 37.97 | -0.14 |  |  |  |  | 7.9639 |  |  | 20.9472 |  | 24.963 |  |  | 55.0969 |  | 144.9195 |  | 64
Kidney | Metabolic | Mitochondrial Membrane SA (m^2) per cm^3 Tissue | m^2/cm^3 | 21.71 | -0.22 |  |  |  |  | 1.8653 |  |  | 8.5259 |  | 11.2314 |  |  | 38.9707 |  | 178.1305 |  | 64
Kidney | Metabolic | Vol Mitochondria/mTAL Cell Vol | % | 56.23 | -0.056 |  |  |  |  | 44.3244 |  |  | 65.2593 |  | 70.002 |  |  | 96.0821 |  | 141.4629 |  | 63
Kidney | Metabolic | Inner Mitochondial Membrane Area/Vol mTAL Mito | um^-1 | 48.98 | -0.034 |  |  |  |  | 42.3922 |  |  | 53.6149 |  | 55.9479 |  |  | 67.8087 |  | 85.7601 |  | 63
Kidney | Metabolic | Inner Mitochondial Membrane Area/mTAL Cell Vol | um^-1 | 27.54 | -0.092 |  |  |  |  | 18.6301 |  |  | 35.1734 |  | 39.4702 |  |  | 66.4072 |  | 125.3761 |  | 63
Kidney | Metabolic | Basolateral Membrane Area/mTAL Cell Vol | um^-1 | 5.5 | -0.075 |  |  |  |  | 3.9993 |  |  | 6.714 |  | 7.3754 |  |  | 11.2715 |  | 18.9226 |  | 63
Liver | [21 empty] | Liver
Liver | Structural | Organ Weight | g | 0.037 | 0.849 |  |  |  |  | 1520 |  |  | 1.3636 | 1.52 | 1.5 |  |  | 0.0038698 | 0.00152 | 1.0982e-05 | 1.52e-06 | 65
Liver | Structural | Organ Volume | mL | [6 empty] | 1690 |  |  |  | 1.69 | 1.3 |  |  |  | 0.00169 |  | 1.69e-06 | 14
Liver | Metabolic | Oxygen Consumption | mL/min | 0.035 | 0.69 |  |  |  |  | 2065 |  |  | 0.65643 | 2.065 |  |  |  | 0.0055871 |  | 4.7554e-05 |  | 65;67
Liver | Functional | Blood Flow | mL/min | 0.094 | 0.75 |  |  |  |  | 1450 |  |  | 2.2748 | 1.45 |  |  |  | 0.012792 | 0.00145 | 7.1937e-05 | 1.45e-06 | 14;65
Liver | Structural | Resident Blood Volume | mL | 0.025 | 0.86 | [7 empty] | 0.96544 |  |  |  |  | 0.0025394 |  | 6.6792e-06 |  | 65
Liver | Functional | Bile Flow | mL/day | [6 empty] | 350 |  |  |  | 0.35 | 2 |  |  |  | 0.00035 |  | 3.5e-07 | 14
Liver | Structural | Hepatocytes | cells | 9100000 | 0.886 |  |  |  |  | 300000000000 |  |  | 392462581.1305 | 300000000 |  |  |  | 862577.7586 | 300000 | 1895.825 | 300 | 65
Liver | Structural | Hepatocyte Cell Density | cells/g liver | [6 empty] | 139000000 | ± | 25000000 |  | 139000 | 135 | ± | 10 |  | 139 |  | 0.139 | 68
Liver | Functional | Protein Concentration | mg/g liver | [6 empty] | 90 | ± | 17 |  | 0.09 | 115 | ± | 7 |  | 9e-05 |  | 9e-08 | 68
Liver | Structural | Liver Density | g liver/mL | [6 empty] | 1.03 |  |  |  | 0.00103 |  |  |  |  | 1.03e-06 |  | 1.03e-09 | 14
Liver | Functional | Potassium Uptake Rate | µmol K+/g wet * min | 1.2 | -0.14 | [7 empty] | 0.66201 |  |  |  |  | 1.7413 |  | 4.58 |  | 69
Liver | Metabolic | Tissue Metabolic Rate (Oxygen) | µmol O2/g wet * min | 3.6 | -0.21 | [7 empty] | 1.4751 |  |  |  |  | 6.2926 |  | 26.8431 |  | 69
Liver | Functional | Shear Stress | MPa | [5 empty] | Liver sinusoid | 50 |  |  |  | 0.05 |  |  |  |  | 5e-05 |  | 5e-08 | 70
Liver | Functional | Cl, intrinsic
Liver | Functional | Antipyrine | mL/min | 0.05 | 1.84 |  |  |  | Corrected with brain weight | 343 |  |  | 0.00037493 | 0.343 |  |  |  | 1.1323e-09 | 0.000343 | 3.4194e-15 | 3.43e-07 | 71
Liver | Functional | Caffeine | mL/min | 0.07 | 1.53 |  |  |  | Corrected with brain weight | 140 |  |  | 0.001197 | 0.14 |  |  |  | 3.0768e-08 | 0.00014 | 7.9086e-13 | 1.4e-07 | 71
Liver | Functional | Mibefradil | mL/min | 36.3 | 1.31 |  |  |  | Corrected with brain weight | 490 |  |  | 1.1143 | 0.49 |  |  |  | 0.00013091 | 0.00049 | 1.5381e-08 | 4.9e-07 | 71
Liver | Functional | Moforotene | mL/min | 100 | 1.64 |  |  |  | Corrected with brain weight | 770 |  |  | 1.2763 | 0.77 |  |  |  | 1.5345e-05 | 0.00077 | 1.8448e-10 | 7.7e-07 | 71
Liver | Functional | Theophylline | mL/min | 0.03 | 1.71 |  |  |  | Corrected with brain weight | 42.7 |  |  | 0.00031786 | 0.0427 |  |  |  | 2.3563e-09 | 4.27e-05 | 1.7468e-14 | 4.27e-08 | 71
Liver | Functional | Tolcapone | mL/min | 103 | 1.51 |  |  |  | Corrected with brain weight | 189 |  |  | 1.8575 | 0.189 |  |  |  | 5.482e-05 | 0.000189 | 1.6178e-09 | 1.89e-07 | 71
Liver | Functional | Bromazepam | mL/min | [5 empty] | Adjusted from reference weight to 70kg human | 67.8385 | [11 empty] | 61
Liver | Functional | Clonazepam | mL/min | [5 empty] | Adjusted from reference weight to 70kg human | 427.8351 | [11 empty] | 61
Liver | Functional | Chlordiazepoxide | mL/min | [5 empty] | Adjusted from reference weight to 70kg human | 446.4771 | [11 empty] | 61
Liver | Functional | Antipyrine | mL/min | 8.16 | 0.885 | [7 empty] | 0.77554 |  |  |  |  | 0.01317 |  | 2.9148e-05 |  | 66
Liver | Functional | Phenytoin | mL/min | 47.1 | 0.915 | [7 empty] | 4.1332 |  |  |  |  | 4.1332 |  | 0.0074351 |  | 66
Lung | [21 empty] | Lung
Lung | Structural | [7 empty] | *averaged values - Reported | [7 empty] | *averaged
Lung | Structural | Total Lung Capacity (TLC) | mL | 53.5 | 1.06 |  |  | 70 kg human .25 kg rat |  | 5500 | ± | 500 | 3.1927 | 5.5 | 9.5 |  |  | 0.0021094 | 0.0055 | 1.3937e-06 | 5.5e-06 | 72
Lung | Structural | Functional Residual Capacity (FRC) | mL | 24.1 | 1.13 |  |  | 70 kg human .25 kg rat |  | 3050 | ± | 650 | 1.1939 | 3.05 | 1.5 |  |  | 0.00048638 | 0.00305 | 1.9814e-07 | 3.05e-06 | 72
Lung | Structural | Tidal Volume | mL | 7.69 | 1.04 |  |  | 70 kg human .25 kg rat |  | 450 | ± | 50 | 0.48398 | 0.45 | 1.65 |  |  | 0.00036714 | 0.00045 | 2.785e-07 | 4.5e-07 | 72
Lung | Structural | Dead Space | mL | 2.76 | 0.96 |  |  | 70 kg human .25 kg rat |  | 150 | ± | 0 | 0.21488 | 0.15 | 0.79 |  |  | 0.00028327 | 0.00015 | 3.7342e-07 | 1.5e-07 | 72
Lung | Functional | Frequency of Respiration | min-1 | 53.5 | -0.26 |  |  | 70 kg human .25 kg rat |  | 16.5 | ± | 5.5 | 106.814 | 0.0165 | 106 |  |  | 643.6182 | 1.65e-05 | 3878.1829 | 1.65e-08 | 72
Lung | Functional | Minute Volume (ml/min) | mL/min | 379 | 0.8 |  |  | 70 kg human .25 kg rat |  | 6500 | ± | 500 | 45.1562 | 6.5 | 0.2 |  |  | 0.17977 | 0.0065 | 0.00071568 | 6.5e-06 | 72
Lung | Functional | Lung Compliance | mL/cm H2O | 2.1 | 1.08 |  |  | 70 kg human .25 kg rat |  | 162.5 | ± | 37.5 | 0.11883 | 0.1625 | 0.45 |  |  | 6.8379e-05 | 0.0001625 | 3.9348e-08 | 1.625e-07 | 72
Lung | Functional | Flow Resistance | cm H2O/(L/sec) | 24.4 | -0.7 |  |  | 70 kg human .25 kg rat |  | 1.4 | ± | 0.5 | 156.9716 | 0.0014 | 95 |  |  | 19761.5588 | 1.4e-06 | 2487832.8515 | 1.4e-09 | 72
Lung | Functional | Diffusion Capacity CO | mL/mmHg/min | 0.22 | 1.14 |  |  | 70 kg human .25 kg rat |  | 33.5 | ± | 16.5 | 0.010613 | 0.0335 | 0.045 |  |  | 4.0349e-06 | 3.35e-05 | 1.534e-09 | 3.35e-08 | 72
Lung | Functional | Power of Breathing | g*cm/min | 962 | 0.78 |  |  | 70 kg human .25 kg rat |  | 40000 | ± | 10000 | 120.8792 | 40 | 625 |  |  | 0.55252 | 0.04 | 0.0025255 | 4e-05
Lung | Structural | Organ Weight | g | 11.3 | 0.99 |  |  | 70 kg human .25 kg rat |  | 1000 |  |  | 0.81232 |  | 1.5 |  |  | 0.00087041 | 0.001 | 9.3266e-07 | 1e-06 | 72
Lung | Structural | Acinar Diameter | cm | 0.042 | 0.172 |  |  | 70 kg human .25 kg rat |  | 0.286 |  |  | 0.026583 | 0.000286 | 0.074 |  |  | 0.0081023 | 2.86e-07 | 0.0024695 | 2.86e-10 | 73
Lung | Structural | Terminal Bronchiole Diameter | cm | 0.0052 | 0.21 |  |  | 70 kg human .25 kg rat |  | 0.044 |  |  | 0.0029749 | 4.4e-05 | 0.0041 |  |  | 0.00069739 | 4.4e-08 | 0.00016348 | 4.4e-11 | 73
Lung | Structural | Alveolar Diameter | cm | 0.0031 | 0.151 |  |  | 70 kg human .25 kg rat |  | 0.0182 |  |  | 0.0020748 | 1.82e-05 | 0.00448 |  |  | 0.00073109 | 1.82e-08 | 0.00025762 | 1.82e-11 | 73
Lung | Structural | Surface Area Alveolar Epithelium | m2 |  | X |  |  | 70 kg human, 20 g mouse |  | 102.2 | ± | 20.5 |  | 0.1022 | 0.05 | ± | 0.02 |  | 0.0001022 |  | 1.022e-07 | 74
Lung | Structural | Surface Area Type 1 Epithelium | m2 |  | X |  |  | 70 kg human, 20 g mouse |  | 96 | ± | 19.1 |  | 0.096 | 0.05 | ± | 0.02 |  | 9.6e-05 |  | 9.6e-08 | 74
Lung | Structural | Surface Area Type 2 Epithelium | m2 |  | X |  |  | 70 kg human, 20 g mouse |  | 6.2 | ± | 1.5 |  | 0.0062 | 0.001 | ± | 0.0002 |  | 6.2e-06 |  | 6.2e-09 | 74
Lung | Structural | Capillary Endothelium | m2 |  | X |  |  | 70 kg human, 20 g mouse |  | 72.3 | ± | 16.5 |  | 0.0723 | 0.04 | ± | 0.01 |  | 7.23e-05 |  | 7.23e-08 | 74
Lung | Structural | Total Alveolar Septal Tissue Volume | cm3 |  | X |  |  | 70 kg human, 20 g mouse |  | 230 | ± | 38 |  | 0.23 | 0.063 | ± | 0.012 |  | 0.00023 |  | 1.022e-07 | 74
Lung | Structural | Type 1 Cell Volume | cm3 |  | X |  |  | 70 kg human, 20 g mouse |  | 33.9 | ± | 33.9 |  | 0.0339 | 0.014 | ± | 0.003 |  | 3.39e-05 |  | 9.6e-08 | 74
Lung | Structural | Type 2 Cell Volume | cm3 |  | X |  |  | 70 kg human, 20 g mouse |  | 22.3 | ± | 22.3 |  | 0.0223 | 0.005 | ± | 0.001 |  | 2.23e-05 |  | 6.2e-09 | 74
Lung | Structural | Interstitial Cell Volume | cm3 |  | X |  |  | 70 kg human, 20 g mouse |  | 38.4 | ± | 38.4 |  | 0.0384 | 0.013 | ± | 0.004 |  | 3.84e-05 |  | 7.23e-08 | 74
Lung | Structural | Interstitial Matrix Volume | cm3 |  | X |  |  | 70 kg human, 20 g mouse |  | 85.5 | ± | 10.6 |  | 0.0855 | 0.007 | ± | 0.002 |  | 8.55e-05 |  | 2.3e-07 | 74
Lung | Structural | Endothelial Cell Volume | cm3 |  | X |  |  | 70 kg human, 20 g mouse |  | 41.4 | ± | 12.8 |  | 0.0414 | 0.022 | ± | 0.003 |  | 4.14e-05 |  | 3.39e-08 | 74
Lung | Structural | Alveolar Macrophage Volume | cm3 |  | X |  |  | 70 kg human, 20 g mouse |  | 8.2 | ± | 3.1 |  | 0.0082 | 0.0013 | ± | 0.0002 |  | 8.2e-06 |  | 2.3e-07 | 74
Lung | Structural | Total cell number |  |  | 1 |  |  | 69 kg human, 19.2 g mouse | cell number increases proportionally with body mass | 184000000000 | ± | 64000000000 |  | 184000000 | 119000000 | ± | 27000000 |  | 184000 |  | 184 | 74
Lung | Structural | Type 1 Epithelial Cell Number |  |  | 1 |  |  | 69 kg human, 19.2 g mouse | cell number increases proportionally with body mass | 19600000000 | ± | 9000 |  | 19600000 | 11600000 | ± | 3600000 |  | 19600 |  | 19.6 | 74
Lung | Structural | Type 2 Epithelial Cell Number |  |  | 1 |  |  | 69 kg human, 19.2 g mouse | cell number increases proportionally with body mass | 32900000000 | ± | 13600000000 |  | 32900000 | 14800000 | ± | 3900000 |  | 32900 |  | 32.9 | 74
Lung | Structural | Interstitial Cell Number |  |  | 1 |  |  | 69 kg human, 19.2 g mouse | cell number increases proportionally with body mass | 52500000000 | ± | 11800000000 |  | 52500000 | 26900000 | ± | 3600000 |  | 52500 |  | 52.5 | 74
Lung | Structural | Endothelial Cell Number |  |  | 1 |  |  | 69 kg human, 19.2 g mouse | cell number increases proportionally with body mass | 73200000000 | ± | 28800000000 |  | 73200000 | 62800000 | ± | 15300000 |  | 73200 |  | 73.2 | 74
Lung | Structural | Alveolar Macrophages Number |  |  | 1 |  |  | 69 kg human, 19.2 g mouse | cell number increases proportionally with body mass | 5990000000 | ± | 1900000000 |  | 5990000 | 2900000 | ± | 500000 |  | 5990 |  | 5.99 | 74
Lung | Structural | Tracheal Radius | cm | N/A | 0.39 |  |  |  | Theoretical: 0.375 Experimental: 0.39 | 2.5 |  |  |  | 0.0025 |  |  |  |  | 2.5e-06 |  | 2.5e-09 | 75
Lung | Structural | Volume of Alveolus | μm3 | N/A | 0.25 |  |  |  | Theoretical: 0.25 (assuming sphere and radius of 100 um) | 4186666.6667 |  |  |  | 4186.6667 |  |  |  |  | 4.1867 |  | 0.0041867 | 75
Lung | Structural | Number of Alveoli |  | N/A | 0.75 |  |  |  | Theoretical: 0.75 | 400000000 | ± | 100000000 |  | 400000 |  |  |  |  | 400 |  | 0.4 | 75
Lung | Structural | Area of Alveolus | μm2 | N/A | 0.167 |  |  |  | Theoretical: 0.167 (assuming sphere and radius of 100 um) | 125600 |  |  |  | 125.6 |  |  |  |  | 0.1256 |  | 0.0001256 | 75
Lung | Structural | Area of Lungs | m2 | N/A | 0.95 |  |  |  | Theoretical: 0.92 Experimental: 0.95 | 70 |  |  |  | 0.07 |  |  |  |  | 7e-05 |  | 7e-08 | 75
Lung | Metabolic | O2 Consumption Rate | mL/hr/g | N/A | 0.75 |  |  |  | Theoretical: 0.75 Experimental: 0.76 | 0.2 |  |  |  | 0.0002 | 0.84 |  |  |  | 2e-07 |  | 2e-10 | 75
Blood | [21 empty] | Blood
Blood | Structural | Volume | mL | 0.076 | 1 |  |  |  | p value<.001 | 4850 | ± | 150 | 0.00532 | 4.85 | 2 | ± | 0.5 | 5.32e-06 | 0.00485 | 5.32e-09 | 4.85e-06 | 61;76
Blood | Structural | Albumin | g/L | 5.68 | 0.296 |  |  |  | p value<.01 | 45 | ± | 10 | 2.5852 | 45 | 27.5 | ± | 2.5 | 0.33458 | 45 | 0.043301 | 45 | 61
Blood | Structural | Creatinine | umol/L | 58.3 | 0.143 |  |  |  | p value<.001 | 89 | ± | 29 | 39.8582 | 89 | 48.6 | ± | 30.9 | 14.8429 | 89 | 5.5274 | 89 | 77-79
Blood | Structural | K+ | mmol/L | 5.2 | -0.032 |  |  |  | p value<.001 | 4.8 | ± | 1.3 | 5.6619 | 4.8 | 6.25 | ± | 1.25 | 7.0625 | 4.8 | 8.8097 | 4.8 | 77;78;80
Blood | Structural | Urea | mmol/L | 7.3 | -0.083 |  |  |  | p value<.001 | 4.1 | ± | 2.9 | 9.1029 | 4.1 | 3.41 | ± | 2.08 | 16.1503 | 4.1 | 28.6536 | 4.1 | 77-79
Blood | Structural | Hematocrit | % Volume | 42.1 | -0.021 |  |  |  | p value<.001 | 50.5 | ± | 11.5 | 44.5179 | 50.5 | 44 | ± | 5 | 51.4677 | 50.5 | 59.5025 | 50.5 | 77;78;81
Blood | Structural | Hemoglobin | g/L | 143.8 | -0.024 |  |  |  | p value<.001 | 152.5 | ± | 22.5 | 153.2768 | 152.5 | 134 | ± | 32 | 180.9158 | 152.5 | 213.5387 | 152.5 | 77;78;81
Blood | Structural | Glucose | mmol/L | 6.4 | -0.047 |  |  |  | p value<.001 | 4.95 | ± | 1.15 | 7.252 | 4.95 | 6.58 | ± | 3.14 | 10.0337 | 4.95 | 13.8823 | 4.95 | 77-79
Blood | Structural | Triglycerides | mmol/L | 0.9 | -0.135 |  |  |  | p value<.001 | 0.9 | ± | 0.3 | 1.2887 | 0.9 | 0.922 | ± | 0.24 | 3.2746 | 0.9 | 8.3206 | 0.9 | 77-79
Blood | Structural | Total Protein | g/L | 64.3 | 0.013 |  |  |  | p value= 0.011 | 72 | ± | 12 | 62.1151 | 72 | 53.5 | ± | 18.5 | 56.7802 | 72 | 51.9036 | 72 | 77-79
Blood | Structural | Ca2+ | mmol/L | 2.6 | -0.01 |  |  |  | p value=0.034 | 1.165 | ± | 0.135 | 2.6701 | 1.165 | 2.15 | ± | 0.37 | 2.861 | 1.165 | 3.0656 | 1.165 | 77;78
Blood | Structural | Na+ | mmol/L | 145.5 | -0.004 |  |  |  | p value=0.039 | 141 | ± | 6 | 147.056 | 141 | 150 | ± | 10 | 151.1759 | 141 | 155.4113 | 141 | 77;78
Blood | Structural | Phospohorus | mmol/L | 1.9 | -0.02 |  |  |  | p value=0.118 | 1.25 | ± | 0.25 | 2.0038 | 1.25 | 2.41 | ± | 0.565 | 2.3007 | 1.25 | 2.6415 | 1.25 | 77;78;81
Blood | Structural | Cl- | mmol/L | 104.6 | -0.008 |  |  |  | p value=0.299 | 102.5 | ± | 7.5 | 106.8491 | 102.5 | 99 | ± | 11 | 112.92 | 102.5 | 119.3358 | 102.5 | 77;78
Blood | Structural | Total Bilirubin | umol/L | 4.2 | -0.089 |  |  |  | p value=0.528 | 13.35 | ± | 11.65 | 5.3215 | 13.35 | 7.7 | ± | 7.7 | 9.8409 | 13.35 | 18.1985 | 13.35 | 77;78;81
Blood | Structural | Mg2+ | mmol/L | 0.9 | -0.026 |  |  |  | p value=0.721 | 1.9 | ± | 0.4 | 0.96443 | 1.9 | 2.35 | ± | 1.55 | 1.1542 | 1.9 | 1.3812 | 1.9 | 77;78;82
Blood | Structural | Cholesterol | mmol/L | 2.7 | -0.04 |  |  |  | p value=0.774 | 4.75 | ± | 1.75 | 3.003 | 4.75 | 2.88 | ± | 0.67 | 3.9588 | 4.75 | 5.2187 | 4.75 | 77-79
Blood | Functional | Wall Shear Stress Along the Infrarenal Aorta** | dyn/cm^2 | 2.6 | -0.38 |  |  |  | p value<.05 | 4.8 | ± | 0.3 | 7.1423 | 4.8 | 87.6 | ± | 8.3 | 98.5907 | 4.8 | 1360.931 | 4.8 | 83
Blood | Functional | Oxygen Carriers | Relative oxygen capacity | α (mL O2/(mL B *atm)) at 37 C | Oxygen binding capacity (mL O2/g) |  |  |  | Oxygen Diffusivity *10^9 (m^2/s) | [12 empty] | Blood O2 Carriers
Blood | Functional | Water | 1 | 0.0239 | - |  |  |  | 2.89 | [12 empty] | 84;85
Blood | Functional | Hemoglobin | 70 | 0.033 | 1.365 |  |  |  | 0.838 | [12 empty] | 85
Blood | Functional | Perfluorocarbon | 20 | 0.35 | - |  |  |  | 8.29 | [12 empty] | 86;87
Blood | Functional | Blood | 70 | 0.0223 | - |  |  |  | 1.33 | [12 empty] | 85
NOTES
1 | In certain cases, the literature values for the allometric scaling laws were for body mass in units other than kg, and hence have been scaled for consistency
Literature Cited
1 | Herculano-Houzel,S. The Human Brain in Numbers: a Linearly Scaled-Up Primate Brain, Front.Hum.Neurosci., 3, Article 31 2009
2 | Im,K, Lee,JM, Lyttelton,O, Kim,SH, Evans,AC, Kim,SI. Brain Size and Cortical Structure in the Adult Human Brain, Cerebral Cortex, 18, 2181-2191, 2008
3 | Herculano-Houzel,S, Mota,B, Wong,PY, Kaas,JH. Connectivity-Driven White Matter Scaling and Folding in Primate Cerebral Cortex, PNAS (US), 107, 19008-19013, 2010
4 | Begley,DJ. Understanding and Circumventing the Blood-Brain Barrier, Acta Paediatrica, 92, 83-91, 2003
5 | Azevedo,FAC, Carvalho,LRB, Grinberg,LT, Farfel,JM, Ferretti,REL, Leite,REP, Jacob,W, Lent,R, Herculano-Houzel,S. Equal Numbers of Neuronal and Nonneuronal Cells Make the Human Brain an Isometrically Scaled-Up Primate Brain, J.Comp.Neurol., 513, 532-541, 2009
6 | Haug,H. Brain Sizes, Surfaces, and Neuronal Sizes of the Cortex Cerebri: A Stereological Investigation of Man and His Variability and A Comparison With Some Mammals (Primates, Whales, Marsupials, Insectivores, and One Elephant, Am.J.Anat., 180, 126-142, 1987
7 | Kreczmanski,P, Heinsen,H, Mantua,V, Woltersdorf,F, Masson,T, Ulfig,N, Schmidt-Kastner,R, Korr,H, Steinbusch,HWM, Hof,PR, Schmitz,C. Microvessel Length Density, Total Length, and Length Per Neuron in Five Subcortical Regions in Schizophrenia, Acta Neuropathol.(Berl)., 117, 409-421, 2009
8 | Reichel,A. Addressing Central Nervous System (CNS) Penetration in Drug Discovery: Basics and Implications of the Evolving New Concept, Chem.Biodivers., 6, 2030-2049, 2009
9 | Pakkenberg,B and Gundersen,HJG. Neocortical Neuron Number in Humans: Effect of Sex and Age, J.Comp.Neurol., 384, 312-320, 1997
10 | Karbowski,J. Global and Regional Brain Metabolic Scaling and Its Functional Consequences, BMC Biol., 5, Article 18 2007
11 | Abbott,NJ, Patabendige,AAK, Dolman,DEM, Yusof,SR, Begley,DJ. Structure and Function of the Blood-Brain Barrier, Neurobiol.Dis., 37, 13-25, 2010
12 | Perge,JA, Niven,JE, Mugnaini,E, Balasubramanian,V, Sterling,P. Why Do Axons Differ in Caliber?, J.Neurosci., 32, 626-638, 2012
13 | Lyck,L, Santamaria,ID, Pakkenberg,B, Chemnitz,J, Schroder,HD, Finsen,B, Gundersen,HJG. An Empirical Analysis of the Precision of Estimating the Numbers of Neurons and Glia in Human Neocortex Using a Fractionator-Design With Sub-Sampling, J.Neurosci.Methods, 182, 143-156, 2009
14 | Davies,B and Morris,T. Physiological-Parameters in Laboratory-Animals and Humans, Pharm.Res., 10, 1093-1095, 1993
15 | Mchenry,LC. Cerebral Blood Flow, N.Engl.J.Med., 274, 82-91, 1966
16 | Aanerud,J, Borghammer,P, Chakravarty,MM, Vang,K, Rodell,AB, Jonsdottir,KY, Moller,A, Ashkanian,M, Vafaee,MS, Iversen,P, Johannsen,P, Gjedde,A. Brain Energy Metabolism and Blood Flow Differences in Healthy Aging, J.Cerebr.Blood F.Met., 32, 1177-1187, 2012
17 | Koutsiaris,AG, Tachmitzi,SV, Batis,N, Kotoula,MG, Karabatsas,CH, Tsironi,E, Chatzoulis,DZ. Volume Flow and Wall Shear Stress Quantification in the Human Conjunctival Capillaries and Post-Capillary Venules in Vivo, Biorheology, 44, 375-386, 2007
18 | Cucullo,L, Hossain,M, Puvenna,V, Marchi,N, Janigro,D. The Role of Shear Stress in Blood-Brain Barrier Endothelial Physiology, BMC Neurosci., 12, 40 2011
19 | Aaslid,R, Lindegaard,KF, Sorteberg,W, Nornes,H. Cerebral Autoregulation Dynamics in Humans, Stroke, 20, 45-52, 1989
20 | Mota,B and Herculano-Houzel,S. How the Cortex Gets Its Folds: an Inside-Out, Connectivity-Driven Model for the Scaling of Mammalian Cortical Folding, Frontiers in Neuroanatomy, 6, Article 3 2012
21 | Herculano-Houzel,S. Scaling of Brain Metabolism With a Fixed Energy Budget Per Neuron: Implications for Neuronal Activity, Plasticity and Evolution, PloS.One., 6, Article e17514 2011
22 | Rakusan,K, Flanagan,MF, Geva,T, Southern,J, Vanpraagh,R. Morphometry of Human Coronary Capillaries During Normal Growth and the Effect of Age in Left-Ventricular Pressure-Overload Hypertrophy, Circulation, 86, 38-46, 1992
23 | Irons,RD. The Mouse in Biomedical-Research, Vol 3, Normative Biology, Immunology, and Husbandry - Foster,Hl, Small,Jd, Fox,Jg, Am.Sci., 72, 632 1984
24 | Edwards,WD and Kitzman,DW. Age-Related-Changes in the Anatomy of the Normal Human Heart, J.Gerontol., 45, M33-M39, 1990
25 | Popovic,ZB, Sun,JP, Yamada,H, Drinko,J, Mauer,K, Greenberg,NL, Cheng,YN, Moravec,CS, Penn,MS, Mazgalev,TN, Thomas,JD. Differences in Left Ventricular Long-Axis Function From Mice to Humans Follow Allometric Scaling to Ventricular Size, J.Physiol.Lond., 568, 255-265, 2005
26 | Lutgens,E, Daemen,MJAP, de Muinck,ED, Debets,J, Leenders,P, Smits,JFM. Chronic Myocardial Infarction in the Mouse: Cardiac Structural and Functional Changes, Cardiovasc.Res., 41, 586-593, 1999
27 | DeMaria,AN, Neumann,A, Lee,G, Fowler,W, Mason,DT. Alterations in Ventricular Mass and Performance Induced by Exercise Training in Man Evaluated by Echocardiography, Circulation, 57, 237-244, 1978
28 | Anversa,P, Kajstura,J, Reiss,K, Quaini,F, BALDINI,ALES, Olivetti,G, Sonnenblick,EH. Ischemic Cardiomyopathy: Myocyte Cell Loss, Myocyte Cellular Hypertrophy, and Myocyte Cellular Hyperplasia, Ann.New York Acad.Sci., 752, 47-64, 1995
29 | Olivetti,G, Capasso,JM, Sonnenblick,EH, Anversa,P. Side-To-Side Slippage of Myocytes Participates in Ventricular Wall Remodeling Acutely After Myocardial-Infarction in Rats, Circ.Res., 67, 23-34, 1990
30 | Henschel,E and Kyrieleis,C. Thermodynamische Messung Äußerer Organoberflächen, Virchows Archiv, 333, 22-28, 1960
31 | Vaidya,D, Morley,GE, Samie,FH, Jalife,J. Reentry and Fibrillation in the Mouse Heart - A Challenge to the Critical Mass Hypothesis, Circ.Res., 85, 174-181, 1999
32 | Bachner-Hinenzon,N, Ertracht,O, Leitman,M, Vered,Z, Shimoni,S, Beeri,R, Binah,O, Adam,D. Layer-Specific Strain Analysis by Speckle Tracking Echocardiography Reveals Differences in Left Ventricular Function Between Rats and Humans, Am.J.Physiol.Heart, 299, H664-H672, 2010
33 | Tibayan,FA, Rodriguez,F, Langer,F, Liang,D, Daughters,GT, Ingels,NB, Miller,DC. Undersized Mitral Annuloplasty Alters Left Ventricular Shape in Acute Ischemic Mitral Regurgitation, Circulation, 108, Suppl.S, 476 2003
34 | Indermuhle,A, Vogel,R, Meier,P, Zbinden,R, Seiler,C. Myocardial Blood Volume and Coronary Resistance During and After Coronary Angioplasty, Am.J.Physiol.Heart, 300, H1119-H1124, 2011
35 | Brands,J, Spaan,JAE, Van den Berg,BM, Vink,H, VanTeeffelen,JWGE. Acute Attenuation of Glycocalyx Barrier Properties Increases Coronary Blood Volume Independently of Coronary Flow Reserve, Am.J.Physiol.Heart, 298, H515-H523, 2010
36 | Schlosser,T, Pagonidis,K, Herborn,CU, Hunold,P, Waltering,KU, Lauenstein,TC, Barkhausen,J. Assessment of Left Ventricular Parameters Using 16-MDCT and New Software for Endocardial and Epicardial Border Delineation, Am.J.Roentgenol., 184, 765-773, 2005
37 | Stegger,L, Heijman,E, Schafers,KP, Nicolay,K, Schafers,MA, Strijkers,GJ. Quantification of Left Ventricular Volumes and Ejection Fraction in Mice Using PET, Compared With MRI, J.Nucl.Med., 50, 132-138, 2009
38 | Eisele,JC, Schaefer,IM, Nyengaard,JR, Post,H, Liebetanz,D, Brul,A, Muhlfeld,C. Effect of Voluntary Exercise on Number and Volume of Cardiomyocytes and Their Mitochondria in the Mouse Left Ventricle, Basic Res.Cardiol., 103, 12-21, 2008
39 | Bersell,K, Arab,S, Haring,B, Kuhn,B. Neuregulin1/ErbB4 Signaling Induces Cardiomyocyte Proliferation and Repair of Heart Injury, Cell, 138, 257-270, 2009
40 | Laflamme,MA and Murry,CE. Heart Regeneration, Nature, 473, 326-335, 2011
41 | Crescenzi,M. Reactivation of the Cell Cycle in Terminally Differentiated Cells. Landes Bioscience, Georgetown, TX, 2002
42 | Lancel,S, Joulin,O, Favory,R, Goossens,JF, Kluza,J, Chopin,C, Formstecher,P, Marchetti,P, Neviere,R. Ventricular Myocyte Caspases Are Directly Responsible for Endotoxin-Induced Cardiac Dysfunction, Circulation, 111, 2596-2604, 2005
43 | Nakayama,M, Yan,XH, Price,RL, Borg,TK, Ito,K, Sanbe,A, Robbins,J, Lorell,BH. Chronic Ventricular Myocyte-Specific Overexpression of Angiotensin II Type 2 Receptor Results in Intrinsic Myocyte Contractile Dysfunction, Am.J.Physiol.Heart, 288, H317-H327, 2005
44 | Torrance,RW. Allometric Algorithms and the Work of the Heart, Respir.Physiol., 113, 95-99, 1998
45 | van der Laarse,WJ. Energetics of Small Hearts, J.Physiol.Lond., 573, 1 2006
46 | Janssen,B, Debets,J, Leenders,P, Smits,J. Chronic Measurement of Cardiac Output in Conscious Mice, Am.J.Physiol-Reg.I., 282, R928-R935, 2002
47 | Cleveland Clinic Foundation. Cleveland Clinic Heart Book. 1st ed., Topol,EJ, ed. Hyperion, New York, 2000
48 | Talley,NJ and O'Connor,S. Examination Medicine: a Guide to Physician Training. 6th ed., Churchill Livingstone Elsevier, Sydney; New York, 2010
49 | Gunther,B and Morgado,E. Allometric Scaling of Biological Rhythms in Mammals, Biol.Res., 38, 207-212, 2005
50 | Weinberg,PD and Ethier,CR. Twenty-Fold Difference in Hemodynamic Wall Shear Stress Between Murine and Human Aortas, J.Biomech., 40, 1594-1598, 2007
51 | Suarez,RK and Darveau,CA. Multi-Level Regulation and Metabolic Scaling, J.Exp.Biol., 208, 1627-1634, 2005
52 | Adolph,EF. Quantitative Relations in the Physiological Constitutions of Mammals, Science, 109, 579-585, 1949
53 | Calder,WA. Scaling of Physiological Processes in Homeothermic Animals, Annu.Rev.Physiol., 43, 301-322, 1981
54 | Prothero,J. Organ Scaling in Mammals - the Kidneys, Comp.Biochem.Phys.A, 77, 133-138, 1984
55 | Mordenti,J, Chen,SA, Moore,JA, Ferraiolo,BL, Green,JD. Interspecies Scaling of Clearance and Volume of Distribution Data for 5 Therapeutic Proteins, Pharm.Res., 8, 1351-1359, 1991
56 | Beuchat,CA. Structure and Concentrating Ability of the Mammalian Kidney: Correlations With Habitat, Am.J.Physiol-Reg.I., 271, R157-R179, 1996
57 | Beuchat,CA. Metabolism and the Scaling of Urine Concentrating Ability in Mammals - Resolution of A Paradox, J.Theor.Biol., 143, 113-122, 1990
58 | Edwards,NA. Scaling of Renal Functions in Mammals, Comp.Biochem.Phys.A, 52, 63-66, 1975
59 | Calder,WA, III and Braun,EJ. Scaling of Osmotic Regulation in Mammals and Birds, Am.J.Physiol., 244, R601-R606, 1983
60 | Singer,MA. Of Mice and Men and Elephants: Metabolic Rate Sets Glomerular Filtration Rate, Am.J.Kidney Dis., 37, 164-178, 2001
61 | Boxenbaum,H. Interspecies Scaling, Allometry, Physiological Time, and the Ground Plan of Pharmacokinetics, J.Pharmacokinet.Biopharm., 10, 201-227, 1982
62 | Savage,VM, Allen,AP, Brown,JH, Gillooly,JF, Herman,AB, Woodruff,WH, West,GB. Scaling of Number, Size, and Metabolic Rate of Cells With Body Size in Mammals, PNAS (US), 104, 4718-4723, 2007
63 | Abrahams,S, Greenwald,L, Stetson,DL. Contribution of Renal Medullary Mitochondrial Density to Urinary Concentrating Ability in Mammals, Am.J.Physiol., 261, R719-R726, 1991
64 | Else,PL and Hulbert,AJ. An Allometric Comparison of the Mitochondria of Mammalian and Reptilian Tissues - the Implications for the Evolution of Endothermy, J.Comp.Physiol.B, 156, 3-11, 1985
65 | Prothero,JW. Organ Scaling in Mammals: The Liver, Comparative Biochemistry and Physiology Part A: Physiology, 71, 567-577, 1982
66 | Boxenbaum,H. Interspecies Variation in Liver Weight, Hepatic Blood-Flow, and Antipyrine Intrinsic Clearance - Extrapolation of Data to Benzodiazepines and Phenytoin, J.Pharmacokinet.Biopharm., 8, 165-176, 1980
67 | Booth,J, Boyland,E, Cooling,C. Respiration of Human Liver Tissue, Biochem.Pharmacol., 16, 721-724, 1967
68 | Sohlenius-Sternbeck,AK. Determination of the Hepatocellularity Number for Human, Dog, Rabbit, Rat and Mouse Livers From Protein Concentration Measurements, Toxicol.in Vitro, 20, 1582-1586, 2006
69 | Couture,P and Hulbert,AJ. Relationship Between Body-Mass, Tissue Metabolic-Rate, and Sodium-Pump Activity in Mammalian Liver and Kidney, Am.J.Physiol-Reg.I., 268, R641-R650, 1995
70 | Domansky,K, Inman,W, Serdy,J, Dash,A, Lim,MHM, Griffith,LG. Perfused Multiwell Plate for 3D Liver Tissue Engineering, Lab Chip, 10, 51-58, 2010
71 | Lave,T, Dupin,S, Schmitt,C, Chou,RC, Jaeck,D, Coassolo,P. Integration of in Vitro Data into Allometric Scaling to Predict Hepatic Metabolic Clearance in Man: Application to 10 Extensively Metabolized Drugs, J.Pharm.Sci., 86, 584-590, 1997
72 | Stahl,WR. Scaling of Respiratory Variables in Mammals, J.Appl.Physiol., 22, 453-460, 1967
73 | Hou,C and Mayo,M. Pulmonary Diffusional Screening and the Scaling Laws of Mammalian Metabolic Rates, Phys.Rev.E, 84, Article 061915 2011
74 | Stone,KC, Mercer,RR, Gehr,P, Stockstill,B, Crapo,JD. Allometric Relationships of Cell Numbers and Size in the Mammalian Lung, Am.J.Respir.Cell Mol.Biol., 6, 235-243, 1992
75 | West,GB, Brown,JH, Enquist,BJ. A General Model for the Origin of Allometric Scaling Laws in Biology, Science, 276, 122-126, 1997
76 | Prothero,JW. Scaling of Blood Parameters in Mammals, Comp.Biochem.Phys.A, 67, 649-657, 1980
77 | Reference Ranges for Blood Tests, Wikipedia: The Free Encyclopedia Wikimedia Foundation, Inc., 5/1/2012,
78 | Kjeld,M and Olafsson,O. Allometry (Scaling) of Blood Components in Mammals: Connection With Economy of Energy?, Can.J.Zool., 86, 890-899, 2008
79 | Fernandez,I, Pena,A, Del Teso,N, Perez,V, Rodriguez-Cuesta,J. Clinical Biochemistry Parameters in C57BL/6J Mice After Blood Collection From the Submandibular Vein and Retroorbital Plexus, J.Am.Assoc.Lab.Anim.Sci., 49, 202-206, 2010
80 | Arrighi,I, Bloch-Faure,M, Grahammer,F, Bleich,M, Warth,R, Mengual,R, Drici,MD, Barhanin,J, Meneton,P. Altered Potassium Balance and Aldosterone Secretion in a Mouse Model of Human Congenital Long QT Syndrome, PNAS (US), 98, 8792-8797, 2001
81 | Reference Values for Laboratory Animals, Research Animal Resources University of Minnesota, 2/19/2013, http://www.ahc.umn.edu/rar/refvalues.html
82 | Krauss,GL, Kaplan,P, Fisher,RS. Parenteral Magnesium-Sulfate Fails to Control Electroshock and Pentylenetetrazol Seizures in Mice, Epilepsy Res., 4, 201-206, 1989
83 | Greve,JM, Les,AS, Tang,BT, Blomme,MTD, Wilson,NM, Dalman,RL, Pelc,NJ, Taylor,CA. Allometric Scaling of Wall Shear Stress From Mice to Humans: Quantification Using Cine Phase-Contrast MRI and Computational Fluid Dynamics, Am.J.Physiol.Heart, 291, H1700-H1708, 2006
84 | Piret,JM and Cooney,CL. Model of Oxygen-Transport Limitations in Hollow Fiber Bioreactors, Biotechnol.Bioeng., 37, 80-92, 1991
85 | Roselli,RJ and Diller,KR. Biotransport: Principles and Applications. 1st ed., Springer, New York, 2011
86 | Middleman,S. An Introduction to Fluid Dynamics: Principles of Analysis and Design. 1st ed., Wiley, New York, 1998
87 | Hartog,A, de Anda,GFV, Gommers,D, Kaisers,U, Verbrugge,SJC, Schnabel,R, Lachmann,B. Comparison of Exogenous Surfactant Therapy, Mechanical Ventilation With High End-Expiratory Pressure and Partial Liquid Ventilation in a Model of Acute Lung Injury, British Journal of Anaesthesia, 82, 81-86, 1999
Note on O16: Author: these numbers use the allometric law with the funcitonal cell #
Note on T16: Author: these numbers use the allometric law with the funcitonal cell #
Note on V16: Author: these numbers use the allometric law with the funcitonal cell #
Note on N87: Author: mass is probably underestimated
Note on S87: Author: mass is probably underestimated
Note on U87: Author: mass is probably underestimated

## Shannon Index
Organ | Cell 1 | Cell 2 | Cell 3 | Cell 4 | Cell 5 | Cell 6 | Number of cell types, N | Shannon-Wiener Index, SWI | Diversity Index = Effective number of cell types | P_i = 1/N for uniform distribution | SWI for uniform distribution | Tot % | Reference
Brain Cells | Glia | Neurons | Vascular | CD45+ Microglia
#A | 20.3 | 19.7 |  | 3.02 | [7 empty] | 43.02 | Numbers times E9; note the absence of Vascular causes a problem and hence Donor A is not included
%A | 47.19% | 45.79% |  | 7.02% | [7 empty] | 100%
#B | 18.51 | 15.02 | 6.59 | 4.15 | [7 empty] | 44.27 | Numbers times E9
%B | 41.81% | 33.93% | 14.89% | 9.374% | [7 empty] | 100%
#C | 18.92 | 15.3 | 8.87 | 3.27 | [7 empty] | 46.36 | Numbers times E9
%C | 40.81% | 33% | 19.13% | 7.053% | [7 empty] | 100%
Brain % | 41.31% | 33.47% | 17.01% | 8.214% |  |  | 4 | 1.7863 | 3.4492 | 0.25 | 2 | 100% | L. Lyck, I. D. Santamaria, B. Pakkenberg, J. Chemnitz, H. D. Schroder, B. Finsen, and H. J. G. Gundersen, J.Neurosci.Methods, 2009, 182, 143. | 1.2344
Heart cells | Cardiomyocytes | Fibroblasts | VSMCs | Endothelial | Neuronal
Heart % | 55% | 25% | 10% | 7% | 3% |  | 5 | 1.7269 | 3.3101 | 0.2 | 2.3219 | 100% | I. Banerjee, J. W. Fuseler, R. L. Price, T. K. Borg, and T. A. Baudino, Am.J.Physiol.Heart, 2007, 293, H1883; D. L. Brutsaert, Physiol.Rev., 2003, 83, 59.
Liver cells | Hepatocyte | SECs | Kupffer | Endothelial
Liver % | 60% | 20% | 15% | 5% |  |  | 4 | 1.5332 | 2.8943 | 0.25 | 2 | 100% | D. E. Malarkey, K. Johnson, L. Ryan, G. Boorman, and R. R. Maronpot, Toxicologic Pathology, 2005, 33, 27.
Lung cells | Endothelial | Interstitial | Type 2 Epithelial | Type 1 Epithelial | Macrophages
# Cells | 72300 | 52500 | 32900 | 19600 | 5990 | [6 empty] | 18329000% | Numbers times E6
Lung % | 39.45% | 28.64% | 17.95% | 10.69% | 3.268% |  | 5 | 1.997 | 3.9917 | 0.2 | 2.3219 | 100% | K. C. Stone, R. R. Mercer, P. Gehr, B. Stockstill, and J. D. Crapo, Am.J.Respir.Cell Mol.Biol., 1992, 6, 235.
Blood Cells | Erythrocytes | Neutrophils | Lymphocytes | Monocytes | Eosinophils | Basofils
Blood % | 99% | 0.5% | 0.3% | 0.05% | 0.025% | 0.007% | 6 | 1.0623 | 0.087157 | 0.16667 | 2.585 | 99.87% | L. Sherwood, in Human physiology: from cells to systems, Cengage-Brooks/Cole, Belmont, CA, 7th ed., 2010