Quick Sheet: 
Sanger Sequence Analysis using 
SnapGene Viewer and NCBI

Forward sequence only: Complete Step 1

Forward and Reverse sequences: Complete Steps 1-3

STEP 1: Edit the Forward Trace File

- Open SnapGene Viewer.

- Select Open >> Open Files >> YourFile_F.ab1.

- Select File >> Save As >> Mod.YourFile_F.scf to create a copy of your raw data file.

- Select “Show quality values” in the lower right-hand corner.

- Trim the 5’-end by identifying the contiguous sequence with ≥ 40 quality scores and highlighting ALL bases prior to this sequence. Hit ‘Delete.’

- Repeat for the 3’-end.

- Scroll through the sequence. Are all quality scores ≥ 40? Adjust nucleotides to ‘N’ as needed. Never delete internal nucleotides.

- Save. Select File >> Export >> FASTA Format.

STEP 2: Edit the Reverse Trace File

- Repeat Step 1 with the reverse sequence.

STEP 3: Generate a Consensus Sequence

- Open NCBI in your web browser: https://www.ncbi.nlm.nih.gov/

- Select “BLAST” from the right-hand ‘Popular Resources’ menu

- Select “Nucleotide BLAST.”

- (optional) Enter a Job Title.

- Click “ Align two or more sequences” at the bottom of the first box.

- Load your forward FASTA file in the top box and the reverse FASTA file in the second box. Hit BLAST.

- Check the % Identity. It should be 100%. If not, refer back to the trace files and investigate the discrepancy.

- If your identity is 100%, select the Arrow next to “Download” and download FASTA (aligned sequences). Save. You have now generated a Consensus Sequence.